## Install
Additional Supplies and Installation
Item | Number | Unit Cost | Total Cost |  | Notes
Soil auger power head and 4 inch bit | 1 | 450 | 450 |  | This is purchase, rental is like $80-$100 per day
Desiccant packs (150 packs per container) | 1 | 125 | 125 | Link
METER TEROS borehole installation tool rental (monthly) | 1 | 500 | 500 | Link | Seems rediculous, but this is their charge
Total Additional Supplies and Installation |  |  | 1075

## Low-Cost Snow Station
Snow Sensing Node
Item | Number | Unit Cost | Total Cost |  | Notes
Datalogger and communication peripherals
EnviroDIY Mayfly Arduino datalogger starter kit | 1 | 160 | 160 | Link | Includes charge controller, SD Card, and right angle SD Card chip
CR1220 Coin cell battery | 1 | 1.13 | 1.13 | Link | For the real time clock
Grove cable connectors for connecting sensors (5 pack) | 1 | 3.5 | 3.5 | Link | Connectors for sensors
Grove screw terminal | 5 | 1.7 | 8.5 | Link | Connect SDI-12 sensors to grove connectors
Xbee Radio for datalogger communications | 1 | 72 | 72 | Link | 900 MHz spread spectrum for LRO sites (other options available)
Radio antenna and cable | 1 | 10 | 10 | Link | These could be inadequate for distance/vegetation
Additional high resolution analog to digital converter (ADS 1115 16-bit, 4 channel) | 1 | 15 | 15 | Link | Extends ability of the Mayfly to make high-resolution anolog measurements
Data logger and communications total |  |  | 270.13
Instrumentation Enclosure and Mounts
Pelican 1400 weather proof datalogger enclosure | 1 | 110 | 110 | Link | This is a pretty small enclosure for the number of sensors we are connecting
Conduit entry for cables and sealing putty | 1 | 20 | 20 |  | Have to drill and mount a conduit. Cable glands would be better, but too many wires
Stainless steel mounting hardware | 1 | 25 | 25 |  | Mount the enclosure to the Aluminum mast
Enclosure total |  |  | 130
Power
6V 6W Solar Panel | 1 | 60 | 60 | Link
Power cable extension for solar panel, 4 ft | 1 | 6 | 6 | Link | Could probably just buy the longer cable and clip the connnector and strip wires
Power extension cable with bare leads | 1 | 4 | 4 | Link
Term Block Plug 2POS STR 2.5mm (connector for solar panel cable) | 1 | 1 | 1 | Link | Connect solar panel leads to Mayfly
Solar panel mounting bracket | 1 | 9 | 9 | Link
Lithium Ion Battery Pack - 3.7 V 6600 mAh | 1 | 25 | 25 | Link | I think this battery may be inadequate for the number of sensors we want to use
Power Total |  |  | 105
Sensors
METER Teros 12 soil moisture, temperature, electrical cond., 3 depths | 3 | 263.33 | 789.99 | Link | SDI-12 output - 3 sensors for each site for 3 depths
Maxbotics MB7374 snow depth analog voltage or pulse width output | 1 | 172.44 | 172.44 | Link | Single ended analog voltage or pulse width output
Apogee SP-710-SS Albedometer Package (upward and downward facing thermopile pyranometer sensors for incoming/outgoing broadband solar) | 1 | 596.7 | 596.7 | Link | Differential voltage output (0-90 mV upward looking) and (0-70 mV downward looking)
Apogee SL-510-SS Upward Looking Pyrgeometer, incoming longwave radiation | 1 | 500 | 500 | Link | 1 Single ended analog voltage (0-2.5V), 1 high resolution differential voltage output (0 - 114 mV)
Apogee SL-610-SS Downward Looking Pyrgeometer, outgoing longwave radiation | 1 | 539.1 | 539.1 | Link | 1 Single ended analog voltage (0-2.5V), 1 high resolution differential voltage output (0 - 114 mV)
Sensors Total |  |  | 2598.23
Platform and Mounting
Conduit and fittings for soil sensor cables | 1 | 40 | 40 | Link
Aluminum mast, 2" Schedule 80 auminum pipe, 16' length | 1 | 230 | 230 | Link
Mast base mount, steel u-channel, concrete, and bolts | 1 | 50 | 50
Aluminum instrument crossarm and mounting bracket | 1 | 100 | 100
Solar sensor mounting stands with leveling base | 4 | 66 | 264 | Link
Mounting Total |  |  | 684
Snow Monitoring Station Total: |  |  | 3787.36
|  | 10 Stations: | 37873.6

## Base Station
Base Station
Item | Number | Unit Cost | Total Cost |  | Notes
Xbee Radio for datalogger communications | 1 | 68 | 68 | Link | 900 MHz
Xbee voltage regulator | 1 | 12 | 12 | Link
Xbee Explorer USB | 1 | 30 | 30 | Link
Radio antenna and cable | 1 | 10 | 10 | Link | These could be inadequate for distance/vegetation
Base Station Total |  |  | 120